PRESSURE GLAZED GALVANIZED STEEL WINDOW WALL AND CURTAINWALL

SERIES 100

SECTION 08900

PART 1 – GENERAL

# 1.01 Work included

A.	Work shall include but not be limited to cold-formed steel curtainwall, trim and anchors, as shown on the architectural drawings.

# B.	Related Work

1.	Glass, glazing, and glazing materials:

Section 08800

2.	Perimeter caulking and sealing:

Section 07900

3.	Miscellaneous structural items:

Section 05500

1.02 System Performance Requirements

A.	Design Wind Loads

The design wind pressure for the project will be:

1.	___ psf positive and negative; ___ psf negative at corner zones

2.	Per wind pressure diagram

3.	Per local building codes

B. 	Air Infiltration Test:

ASTM E283 – Maximum air infiltration 0.06 CFM per square foot with a pressure differential of 6.24 PSF (50 MPH)

C.	Water Penetration Test

ASTM E331 – No water penetration for 15 minutes when the window is subjected to a rate of flow of 5 Gal./Hr./Sq. Ft. with a pressure differential of 12.00 PSF.

D.	Structural

1.	Uniform Load Deflection Test:

No deflection of any unsupported span of test unit in excess of L/175 at both a positive and negative load of the design test pressure when tested in accord with ASTM E330 (L/240 + ¼” at spans over

13’-6”)

2.	Uniform Load Structural Test:

Unit to be tested at 1.5 x deign pressure, both positive and negative, acting normal to plane of wall in accord with ASTM E330.

E.	Meet or exceed the Steel Window Institute (SWI) and AAMA “Metal Curtainwall Manuel” specifications as indicated and/or modified by the specifications herein.

1.03 Submittals

A.	Submit shop drawings showing curtainwall and installation details, including anchorage, fastening and recommended sealing methods. Show dimensioned elevations with opening and curtainwall sizes. Upon request, provide test reports for all pertinent standards.

B.	Samples

Submit samples of anchors, fasteners, assembled corner sections and other materials and components as requested by the Architect.

1.04 Warranty

A.	Submit a written warranty for a period of 5 years from the date of substantial completion against defective materials, which result in the premature failure of the curtainwall frames or factory applied finish.

# PART 2 – PRODUCTS

2.01 Approved Manufacturers

A.	Drawings are based upon Pressure Glazed (PG) Series.

B.	Base bid will be Tajima Corporation USA

C.	Substitutions

1.	Other manufacturers that meet or exceed specifications must submit test reports and proposal details at least 10 working days prior to bid date for consideration.

2.	Substitute products not pre-approved by the Architect via Addendum will not be considered.

# 2.02 Materials

- The frame shall be composed of galvanized steel sheet, Commercial Quality, complying with ASTM A526, chemically treated, extra smooth, not oiled, and coated in accordance with ASTM A525, G60 designated, all spangles wiped free.

- Structural Tubing: ASTM A500, Cold Formed, Welded Seamless Carbon Steel, in Rounds & Shapes.

C.	The frame sections shall have a front to back depth dimension of  ________ and be a minimum thickness of 16 gauge.

D.	Glass:

- Provide in accordance with Section 08800.

- Sealed insulated glass shall meet ASTM E774 Class A.

E.	Glazing:

- Provide in general accordance with Section 08800.

- Glazing method shall be in general accordance with the FGMA Glazing Manual for specified glass type, or as approved by the glass fabricator.

F.	Glazing Materials:

1.	Setting Blocks/Edge Blocking: Provide in sizes and locations recommended by FGMA Glazing Manual.

2.	Expanded Cellular Glazing Tapes shall meet AAMA 800.

3.	Structural Silicone shall meet ASTM C 1184.

4.	Spacer tape in continuous contact with structural silicone shall meet AAMA 800.

# 2.03 Fabrication

    - Shop to fabricate frames as complete units.  No fabrication will be permitted on the job site.  Fabricate curtainwall in accordance with the approved shop drawings.

    - No dissimilar metals shall be in contact that would cause electrolytic corrosion.

    - Weld along entire line of hairline contact in accordance with AWS Welding Codes or Mechanically Join all corners.

    - No discoloration grind marks or heat sinks will be visible if welded and dressed.

    - System to be fully pressure-equalized at the interior plane of the glazing pocket.

    - Provide weep holes and/or drainage slots within the glazing pockets to drain any water within the system to the exterior.

G.  Finish:

Hot dipped galvanized steel; Provide manufacturer's Tnemec two coat organic coating finish in accordance with general requirements Section 09870.

1.	Pre treatment: Thoroughly clean steel with liquid and vapor degrease to conform to FS TT-C-490.

2.	Cold Galvanizing: Apply sprayed on zinc to replace all damaged galvanized surfaces during punching, welding and grinding.

3.	Primer: Coat pre treated material with Tnemec Series 69 Hi-Build Epoxoline II Primer with a dry film thickness of 3 mils.

4.	Finish: Provide manufacturer’s Tnemec two coat organic coating finish.

Or: Final coating on all exposed to view metal shall be High Performance Coating: Fluorocarbon coating, inhibitive thermo-cured primer, 0.2 mil minimum dry film thickness, and thermo-cured fluorocarbon coating containing 70 percent Kynar 500 resin, 1.0 mil minimum dry film thkness: shall be of color as selected by the customer.

# PART 3 – EXECUTION

# 3.01 Inspection

- Curtainwall openings shall conform to details and dimensions shown on the approved shop drawings.

- The General Contractor prior to installation must correct conditions that may adversely affect the curtainwall installation.

# 3.02 Installation

- Experienced personnel shall install curtainwall specified under this section.

- Install curtainwall in strict accordance with the approved shop drawings and all local, state, and national laws and building codes.

- Set curtainwall plumb, level, and true to line, without warp or rack of frames.

- Anchor curtainwall securely to surrounding construction with approved fasteners.

- The exterior joints between the curtainwall, trim and mullions shall be properly sealed watertight with an approved sealant and be neatly pointed.

- Any abraded surface of the curtainwall finish shall be cleaned and touched up with air dry paint, ad approved and furnished by the curtainwall manufacturer, in a color to match the factory applied finish.

- Provide a continuous heel bead of silicone around the perimeter of all glass lights prior to the installation of exterior pressure plates and covers

# 3.03 Cleaning

- The General Contractor shall be responsible for protecting the curtainwall and related materials during storage on the job and during and after installation.

- Curtainwall installer shall leave the curtainwall surfaces clean after installation, exercising care to avoid damage to protective coatings and finishes.

- Any protection necessary due to the cleaning of materials adjacent to the curtainwall shall be the responsibility of the General Contractor.

END OF SECTION